## DBP - Chlorine Dioxide
STATE OF CONNECTICUT
DEPARTMENT OF PUBLIC HEALTH
DRINKING WATER SECTION
CHLORINE DIOXIDE AND CHLORITE MONITORING AND REPORTING FORM
1. Public Water System (PWS) Information:
PWSID:
PWS Name:
City/Town:
2. Compliance Information:
Water System Facility ID: |  |  |  |  | Sampling Point ID:
Month: |  |  | Year:
3. Laboratory Information:
CT Lab PH ID: |  |  |  | Lab Name:
4. Analytical Results & Summary Information:
Entry Point Monitoring
1 | Day | ClO2 (mg/L) | Chlorite (mg/L)
| 1 |  |  | Chlorine Dioxide Entry Point (EP) Monitoring (Summary Type: CLO2)
2
| 3 |  |  | Number of Samples Required:
| 4 |  |  | Number of Samples Collected: | [7 empty] | 0
| 5 |  |  | EP Chlorine Dioxide Monitoring & Reporting Complied?1
| 6 |  |  | Number of ClO2 samples exceeded 0.8 mg/L?2 | [7 empty] | 0
7
| 8 |  |  | Chlorite Entry Point (EP) Monitoring (Summary Type: CLO3)
9
| 10 |  |  | Number of Samples Required:
| 11 |  |  | Number of Samples Collected: | [7 empty] | 0
| 12 |  |  | Results Average (mg/L):
| 13 |  |  | EP Chlorite Monitoring & Reporting Complied?1
| 14 |  |  | Number of Chlorite samples exceeded 1.0 mg/L?2 | [7 empty] | 0
15
| 16 |  |  | 1 If "No", the exceedance attachment form must be completed.
| 17 |  |  | 2 If more than one sample exceedance, the exceedance attachment form must be completed.
18
| 19 |  |  | Routine Chlorite Monitoring in Distribution System
| 20 |  |  | Sampling Location |  | Lab Sample ID | WSF ID | Sampling Point ID | Collection Date | Certifed Lab ID |  | Chlorite (1009) (mg/L)
21
22
| 23 |  |  | Near 1st Customer
| 24 |  |  | Avg. Residence Time
| 25 |  |  | Max. Residence Time
| 26 | [9 empty] | Monitoring Period Average:
| 27 |  |  | Indicate (X) if analytical results were reported electronically:
| 28 |  |  | - If the arithmetic average of any three sample set exceeds the Chlorite MCL (1.0 mg/L), the system is in violation of the MCL.
29
| 30 |  |  | - If more than one three-sample set was collected, attach additional copies of this form.
31
Note on I46: Water System Facility ID as indicated in current Schedule of Water Quality Monitoring Requirements
Note on K46: Sampling Point ID from approved Sampling Site Plan or as indicated in current Schedule of Water Quality Monitoring Requirements

## DBP - Chlorine Dioxide Exd.
STATE OF CONNECTICUT
DEPARTMENT OF PUBLIC HEALTH
DRINKING WATER SECTION
CHLORINE DIOXIDE MONITORING AND REPORTING FORM - EXCEEDANCE ATTACHMENT
1. Public Water System (PWS) Information:
PWSID:
PWS Name:
City/Town:
2. Summary Information:
| # of Violations |  |  |  |  | # of Violations
Acute MRDL |  |  |  | Monitoring
Nonacute MRDL |  |  |  | MCL
Monitoring |  |  |  | Public Notified?
Public Notified? |  |  |  | Date(s):
Date(s): |  |  |  | DWD Notified?
DWD Notified? |  |  |  | Date(s):
Date(s):
Additional Chlorite Monitoring in Distribution System (after Exceedance)
Chlorite (1009) Sampling Location | Lab Sample ID | WSF ID | Sampling Point ID | Collection Date (must be the same) | Certified Laboratory ID | Result
(mg/L)
Near 1st Customer
Avg. Residence Time
Max. Residence Time
Average:
Additional Chlorite Monitoring in Distribution System (after Exceedance)
Chlorite (1009) Sampling Location | Lab Sample ID | WSF ID | Sampling Point | Collection Date (must be the same) | Certified Laboratory ID | Result
(mg/L)
Near 1st Customer
Avg. Residence Time
Max. Residence Time
Average:
Chlorine Dioxide Monitoring Required After 0.8 mg/L Exceedance at Entry Point
1ST INCIDENT |  |  | Collection Date | Time (> 6 hour intervals) |  | Result
(mg/L)
Insert Sampling Location Below
(must be near first customer)
2ND INCIDENT |  |  | Collection Date | Time (> 6 hour intervals) |  | Result
(mg/L)
Insert Sampling Location Below
(must be near first customer)