## TCR - Coliform Bacteria
STATE OF CONNECTICUT
DEPARTMENT OF PUBLIC HEALTH
DRINKING WATER SECTION
TOTAL COLIFORM RULE MONITORING AND REPORTING FORM
1. Public Water System (PWS) Information:
PWSID:
PWS Name:
City/Town:
2. Compliance Information & Analytical Results: | [10 empty] | Page | of
Lab Sample ID | Collection Date | Sample Type1 | Repeat Location2 | CT Lab PH ID | Sampling Point ID3 | Original Routine Positive Lab Sample ID4 | Sample Collector | Total Coliform (3100) (P or A) | E.coli5 (3014) (P or A) | Fecal Coliform5 (3013) (P or A) | Chlorine Residual (mg/L)6 | Analysis Completion Date
If space provided is not sufficient, please attach additional copies of this form.
1 Sample Type: RT - Routine, RP - Repeat, SP - Special.
2 If Sample Type is RP, designate Repeat Location as O - Original, D - Downstream, U - Upstream, or OT - Other
3 Sampling Point ID from approved Sampling Site Plan or as indicated in current Schedule of Water Quality Monitoring Requirements or "4" if Sample Type is RP.
4 If Sample Type is RP then the sample(s) must be associated to the originating routine (RT) positive Lab Sample ID.
5 If any routine or repeat sample is total coliform-positive, the system shall analyze that total coliform-positive culture medium to determine if fecal coliforms OR E.coli are present.
6 The residual disinfectant concentration must be measured at the same location and time as each total coliform sample.
Note on C17: Sample Type: RT - Routine RP - Repeat SP - Special
Note on D17: If Sample Type is RP, designate Repeat Location as: O - Original D - Downstream, U - Upstream OT - Other
Note on F17: Sampling Point ID from approved Sampling Site Plan or as indicated in current Schedule of Water Quality Monitoring Requirements or "4" if Sample Type is RP.
Note on G17: If Sample Type is RP then the sample(s) must be associated to the originating routine (RT) positive Lab Sample ID.
Note on L17: The residual disinfectant concentration must be measured at the same location and time as each total coliform sample.