## Header P25
Test Date: | Result |  | 4D | PASS
Site Code & Name: |  |  | George Washington Univ. Hosp | FAIL
Fletcher Johnson
Building Manager contact info: |  |  | Georgetown Univ. Hosp.
Tel: | OUC rep. technical Name |  | One Judiciary Sq.
Company: | Company: |  | Reeves Ctr.
Address: | Tel: |  | Rhode Island
City, State Zipcode | Email: |  | St. Elizabeth's Hospital
Email: |  |  | UDC Bldg. 41
Emergency Contact info | Fiber DAS HeadEnd located in room
Company: | Number of remotes
Tel: | Fiber DAS Brand/Model Number
Email:
BDA located in room: | Donor Site Name | 0
BDA Brand/Model Number | Host Site Noise Reference Level | 0
IP address | Path Loss (dB) | 0
UserName | BDA UL Output noise | 0
Password | Noise Contribution to host site | 0
Description of building readiness & other comments as necessary

## Check List P25
Date: | 0 |  | R | 0
Site: | 0
TESTING | Required | PASS | FAIL | Value | Comment (include what failed/passed)
Head End Room
Grounding | R | 0 | 0
NEMA4-Type Enclosure BDA | R | 0 | 0
NEMA4-Type Enclosure Fiber DAS Headend | R | 0 | 0
NEMA4-Type Enclosure Batteries | R | 0 | 0
Labeling (cables, antennas, Remotes) | R | 0 | 0
Enclosure signage | R | 0 | 0
Rooftop
Antenna | R | 0 | 0
Grounding | R | 0 | 0
Top 3 UL Sites | R | 0 | 0
Top 3 UL RSSI | R | 0 | 0
Donor Site | R | 0 | 0
Bda pathloss
Path Loss | R | 0 | 0
Control Channel DL RSSI | R | 0 | 0
BDA/Headend Battery/Alarming
Battery Back up Test | R | 0 | 0
Local shut down test | R | 0 | 0
Alarms | R | 0 | 0
Remote access to BDA
BDA Check
29 Frequencies programmed (UL & DL) | R | 0 | 0
Channels 12.5 kHz wide | R | 0 | 0
Spectrum scan check | R | 0 | 0 |  | Attach screen capture
Level check across band | R | 0 | 0
Uplink gain adjustment
Host noise measurement | R | 0 | 0
Noise measurement out of BDA | R | 0 | 0
Uplink Noise contribution evaluation | R | 0 | 0 | 0
Frequencies availability verification (BDA or Remotes Tab | R | 0 | 0
Commercial DAS interference check (if applicable) | R | 0 | 0
Private LMR radio system interference check (if applicable) | R | 0 | 0
Audio Test results (DAQ 3.4) | R | 0 | 0
Remote access to monitoring | R | 0 | 0
DAS Antennas RSSI measurements baseline (Remotes check tab) | R | 0 | 0

## Remotes Check P25
|  | Date: | 0
|  | Site: | 0
|  | Number of Remotes: |  | 1
[7 empty] | Frequencies | [29 empty] | OK
|  | Remotes | Room Location | Labeling | Battery battery Check | Battery function Check | Channel 1 | Channel 2 | Channel 3 | Channel 4 | Channel 5 | Channel 6 | Channel 7 | Channel 8 | Channel 9 | Channel 10 | Channel 11 | Channel 12 | Channel 13 | Channel 14 | Channel 15 | Channel 16 | Channel 17 | Channel 18 | Channel 19 | Channel 20 | Channel 21 | Channel 22 | Channel 23 | Channel 24 | Channel 25 | Channel 26 | Channel 27 | Channel 28 | Channel 29 | Hot Link Level | KO | Attenuation Added | Hotlink after attenuation
1 | 1 | Remote 01 | Room 1 | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK
2 | 0
3 | 0
4 | 0
5 | 0
6 | 0
7 | 0
8 | 0
9 | 0
10 | 0
11 | 0
12 | 0
13 | 0
14 | 0
15 | 0
16 | 0
17 | 0
18 | 0
19 | 0
20 | 0
21 | 0
22 | 0
23 | 0
24 | 0
25 | 0
26 | 0
27 | 0

## Coverage Baseline P25
Date: | 0
Site: | 0
|  | Fringe areas: | Those are elevators lobbies, exist stairs, exit path ways, emergency and standby power rooms, and any location the testing sowed the coverage was the weakest.
|  | Area ID | Name | RSSI | Location description
1
2
ANTENNA BASELINE REFERENCE LEVELS
fail
|  | Floor 13 |  |  | Floor 12 |  |  | Floor 11 |  |  | Floor 10
|  | Active. # | Ant. Label | RSSI | Active. # | Ant. Label | RSSI | Active. # | Ant. Label | RSSI | Active. # | Ant. Label | RSSI
|  | Floor 9 |  |  | Floor 8 |  |  | Floor 7 |  |  | Floor 6
|  | Active. # | Ant. Label | RSSI | Active. # | Ant. Label | RSSI | Active. # | Ant. Label | RSSI | Active. # | Ant. Label | RSSI
|  | Floor 5 |  |  | Floor 4 |  |  | Floor 3 |  |  | Floor 2
|  | Active. # | Ant. Label | RSSI | Active. # | Ant. Label | RSSI | Active. # | Ant. Label | RSSI | Active. # | Ant. Label | RSSI
|  | Floor 1 |  |  | Floor B1 |  |  | Floor B2
|  | Active. # | Ant. Label | RSSI | Active. # | Ant. Label | RSSI | Active. # | Ant. Label | RSSI